# Use of Correlation algorithms in a database of spent cartridge cases of firearms

# Zeno Geradts		Jurrien Bijhold		Rob Hermsen

Netherlands Forensic Institute of the Ministry of Justice

Department Forensic Information Technology, Volmerlaan 17, 2288 GD Rijswijk, Netherlands

zeno@holmes.nl

Firearms, correlation, image database, cartridge case

ASCI themes: Computational science, Applications and algorithms, Image sensing and processing, image analysis and interpretation, Recognition, identification and vision

Abstract

On the market several systems exist for collecting spent ammunition for forensic investigation. These databases store images of cartridge cases and the marks on them. The research in this paper is focussed on the different methods of feature selection and pattern recognition that can be used for computation

For automatic comparison of these images are extracted firstly the useful parts of the images. On a database of 4966 images several preprocessing steps have been tested and compared. From this research it appeared that the equalization of greyvalues is a very good first step.

We tested our algorithms using 19 matching pairs, were the ground truth was known that they were shot with the same firearm. In cases were the registration between those matching pairs was good, a simple computation of the standard deviation of the subtracted gray levels put the matching images on top of the hit list. For other ones, we have implemented a "robust" way of registration in all images are translated and rotated and the minimum of the standard deviation of the difference is computed. It appeared that this method worked if the firing pin marks are similar. Otherwise the firing pin should be handled separately from the breechface mark. By modifying the weight of the firing pin to 50 percent, it appeared that we had all images in the top list. The method will take much processing power. Since the shapes of the region of interest is circular it appeared to be useful to calculate in polar coordinates.

For improving the computational speed, we have implemented a wavelet technique (a trous), in which four scales are calculated. From these scales, the third scale is used. The log polar transform on this third scale will reduce the computational effort involved. The matching images were in the top positions of the hit list.

- Introduction

In the forensic science laboratory in the Netherlands a research study has been done for automated comparison algorithms of cartridge cases. This study is a part o the evaluation of the different systems, which exist on the market for databases of cartridge cases and bullets.

2. Background

2.1 Forensic Examination

When a firearm is loaded and fired the mechanisms and part in the firearm that come into contact with the cartridge case cause impressions and striations that can be characteristic for the firearm being used. The striation marks on bullets are caused by the irregularities in the gun barrel as well as larger and more distinct land and grooves of the rifling.

The cartridge case ejected shows marks that are caused by the firing pin and the breech face as the cartridge is repelled back in the breach by the force of rifling. The feeding, extraction and ejection mechanisms of the firearm will also leave characteristic marks.

In the forensic science laboratory these marks on cartridge cases and bullets are compared with the test fired ones. Often the cartridge case is the most important forensic specimen in the identification of weapons, as bullets are commonly deformed by the impact. The examiner can also determine, using class characteristics what kinds of firearm or which make and model have been used.

This study handles different approaches for automated correlation algorithms on image databases of breach face and firing pin marks.

2.2. Ballistic Imaging Systems

# DRUGFIRE [] and IBIS are databases that can be used for acquiring, storing and analyzing images of bullets and cartridge cases. These two systems have been evaluated at our laboratory.

Both systems capture video images of bullet striations and of the markings left on cartridge cases. These images are used to produce an electronic signature that is stored in a database. The system then compares this signature to that of another fired bullet or cartridge case-or to an entire database of fired bullets and cartridge cases.

Networking hardware and software allow transfers and comparisons of forensic evidence from different laboratories.

Both systems have correlation algorithms and screens for the comparison. The methods of correlation applied in these systems are not known. However patents [,,,] applied by one company describe state-of-the-art correlation methods.

With these systems it is important that the user has a hit list (the order of the top images that are displayed) that is reliable. The top positions should match with the marks that have to be compared.

Other systems that have been described on the market are the system Fireball [] and the French system CIBLE. These systems also use correlation techniques.

2.3. Correlation

For this research we tested the normal correlation techniques which are available from the literature [] and two methods for preprocessing. We did not use any signature technique for comparison, since we tried to use the information of the greyvalues in the image.

There has been much interest in searching of image databases [,]. In content based image retrieval there are different problems that can be distinguished in our case:

- images with noise

- images that are rotated and shifted

- difference in light source

- difference in cartridge case metal

- wear of firearm

- wear of cartridge case

- marks between two shots can be different for mechanical statistical reasons

- finding similar images of marks

In forensic investigations, the firearm examiner determines which marks on cartridge cases are similar.

The approach of this research is a combination of shape of the firing pin and texture of the impression marks.

Since the light conditions and marks do change depending on the marks, it appears to be worthwhile to compare the greyvalues images, instead of comparing thresholded images[14].

In the scope of this article, the raw images will be compared, since we presume time constraints for computing can be resolved by making a pre-selection. Furthermore, from the results of these comparisons in the database, efficient signatures might be developed. In this way the sophisticated matching algorithms described in this paper, can be combined efficiently with key values in the database.

A part of this research is related to registration techniques. Since positioning of cartridge cases and the positions of the marks are not reproducible, it is important that the images that the shift and rotation are known. The shift and rotation are calculated from the contents of the images.

# 3. Test database

For our evaluation of correlation algorithms we studied on two kind of images (Figure 1):

- Images of breechfaces which are illuminated with side light

- Images of firing pins which are illuminated with ring light

Since firing pins can rotate in the firing pin depending on the firearm used, the firing pin marks can be in a different position to the breechface mark.

Figure 1: image of breechface and image of firing pin with ring light

We used a database of 4966 images, which were acquired by Drugfire under different circumstances (light sources and several views of the cartridge case). We tested the algorithms on all images (without prior knowledge). Since the firearm examiner is used to side light images, we limited the test to the side light images. An extensive

testing and comparison of correlation algorithms for ring light images has to be done in further research.

Table 1: number of cartridge cases per caliber

| Caliber | number | Side light | ring |
| --- | --- | --- | --- |
| 9 mm Parabellum | 2402 | 1981 | 421 |
| .32 automatic | 893 | 745 | 148 |
| .25 automatic | 393 | 345 | 48 |
| .380 automatic | 326 | 293 | 33 |
| .45au | 236 | 201 | 35 |
| 9mm short | 230 | 203 | 27 |
| .40 S&W | 118 | 112 | 6 |
| .22 long rifle | 109 | 109 | 0 |
| Others | 259 | 201 | 58 |
|  | 4966 | 4190 | 776 |

We have a matching pair's test of fired cartridge cases. These matching pairs are from practical cases in the Netherlands, were the examiner has found a positive match between the firearm and the cartridge found at the scene of the crime.

The database consists of side light images of 49 different cartridge cases that have a known match. These cartridge cases are fired from 19 different guns of caliber's 9 mm Parabellum (15), .45 automatic (2) and .32 / 7.62 (each one). Depending on the case, there were 2-5 matches between the cartridge cases. Some of these cartridge cases are from different test shots. The marks of the cartridge cases and the shapes of the firing pin were visually similar between the matches. These cartridge cases are mixed with the rest of the database for the experiments.

The databases are exported to a Linux system. We have used parts of the Khoros [] imaging software, together with some routines to evaluate the results for the visualization of the hit list.

The user will enter the cartridge case in the database for comparison, and can limit the search to administrative data (e.g. caliber, date limit).

For evaluation of comparison results it is important to have all relevant images in the top of the hit list, since otherwise the user has to browse the complete database.

In this kind of system (with exact matches []) a precision and recall can be employed. However, since the most important fact is that the relevant images are in the top positions of the database, we evaluated the performance of the correlation algorithm on this criterion.

3. Preprocessing

# 3.1 Equalization

# We first equalize the images, since it appears that the conditions of lighting differed for the cartridge cases in the database.

Figure 2: preprocessing operation (left: original image, right: processed image)

We use histogram equalization:

- Compute the average number of pixel per gray level

- Starting from the lowest gray level band, accumulate the number of pixels until the sum is closest to the average. All of these pixels are then rescaled to new reconstruction levels

For the general image of a cartridge case we have the function g(x,y) which is the gray-value on position (x,y). Since we would like to compare just the inner circle of the image (were most impression marks are), we select the circle and outside of the circle the gray-value is zero (Figure 2)

Since a circular shape is compared, the image can be converted to polar coordinates.  The polar image is calculated from the center of the firing pin, and in this way a polar image can be calculated. In figure 3 the image is shown. Since polar coordinates are used, the firing pin will cover a larger area in this image. For our computation we have selected a 360x360 (angle x radius) image.

Figure 3: Polar image of cartridge case (r,Φ)

# 3.2 Multiresolution

There is a huge number of articles [] with pattern recognition that are based on wavelet transforms. A wavelet transform is a localized function of mean zero. Often wavelets incorporate a pyramidal visualization. Wavelet transforms are computationally efficient and they allow exact reconstruction of the original data. Wavelet functions are often wave-like but clipped to a finite domain.

The reason for choosing a multiresolution transform is that we can correlate to the information of marks, and that we are less sensitive to the light conditions.

The wavelet can however introduce artifacts. A wavelet for discrete data is the version known as a trous (with holes) algorithm []. This is a redundant transform, since decimation is not carried out.

The scale 1 of the à trous will give the finest details of the image. Depending on the details which has to be correlated the different scales can be used.  The third scale visualizes the marks that are used by the firearm examiner (Figure 4).

4. Correlation Methods

# 4.1 Difference of two images

For a computationally simple kind of comparison we can take the variance of the difference (which is also used in previous research for toolmarks [] and in image registration []).

Equation 1

Equation 2

were N is size of image in pixels in x-direction, M is size of image in pixels in y-direction, ( is the mean.

Sort this variance and the hit list is the lowest variance.

1		 2	        3                     4

Figure 4: four scales of the original image (above) computed with an a trous wavelet transform

# 4.2 Correlation-parameter

# For a better statistical approach [] we use the correlation coefficient which is

Equation 3

-1 < ( < 1

If ( = 1 then f and g agree with each other

If ( = 0 then f and g do not agree with each other

4.3 Invariant Image Descriptors

A problem is that the above algorithms are translation and rotation variant, which require a huge computational effort. A classical technique for registering two images with translatory misalignment involved calculating the 2D cross-correlation function [].

The maximum of this function yields the translation necessary to bring the images into alignment. This function has the disadvantage of being sensitive to rotation and scale change. Even small rotations of a few degrees can reduce the peak of the cross correlation function to the noise level.

By using the invariant image descriptors in place of the original images, it is possible to avoid this problem. One such descriptor is the log-polar transform of the Fourier magnitude, which removes the effect of translation, and uniform scaling into depended shifts in orthogonal directions.[]

In order to demonstrate the properties of this triple invariant image descriptor, consider the comparison between two images f(x,y) and g(x,y), which are related by a four-parameter geometric transformation :

g(x,y) = f(((x cos ( + y sin () - (x, ((-x sin( + y cos() - (y

Equation 4

The magnitudes of the Fourier transform are invariant to translation, but retain the effect of scaling and rotation: 											Equation 5

Were G(u,v) and F(u,v) are the Fourier Transforms of g(x,y) and f(x,y) respectively.

Mapping of the Fourier magnitudes into polar coordinates (r,() achieves the decoupling of the rotation and scale factors; rotation maps to a cyclic shift on the (-axis, and scaling maps to a scaling of the r-axis:

Equation 6

# Were

A logarithmic transformation of the r-axis further transforms scaling into a shift:

Equation 7

Were (=ln(r). The polar mapping followed by the logarithmic transformation of the r-axis is called the log-polar transform.

The optimal rotation angle and scale factor can be determined by calculating the cross-correlation function of the log-polar transformed Fourier magnitudes of the two images. It is important to note that the cross-correlation needs to be circular along the (-axis, and linear along the (-axis:

Equation 8

Were F ((,() is equal to F (F ((,( modulo 2() and XC(R, T) is the two-dimensional cross-correlation function, with parameters R (difference in logarithm of scale factors) and T (difference in rotation angles).

The (-axis-circular and (-axis-linear cross-correlation can be readily achieved by zero-padding only the (-axis direction and performing a circular cross-correlation with an FFT-based algorithm.

If the valid range of rotations is not known a-priori then an additional cross-correlation may be necessary to remove the 180 degrees ambiguity in the rotation angle, because the Fourier magnitude of a real-valued image is an even function.

The correlation factor XC(R, T) is a measure for correlation between the different images.

It is important with respect to the implementation of the triple invariant image descriptor algorithm the choice of the number of samples in the log-polar-domain. This number is based on a realistic memory requirement and a realistic representation in the log-polar-domain.

One way to approach the spatially variant resolution of the log-polar domain is to have the worst-case resolution equal to the log-polar domain equal the resolution in the rectangular domain. The log-polar domain resolution elements are:

Equation 9

Where

(( : The resolution elements in angular direction

(( : The resolution elements in logarithm of radius-direction

(l : the arc length between neighboring points in the rectangular domain

(r : the resolution element in the radius direction

r : the radius coordinate

# The worst case resolution in the log-polar domain is the minimum value of (( and ((.

The number of samples in the log-polar domain necessary for the preservation of the information content:

Equation 10

Equation 11

# 4.4 Invariant moment calculation

The method of calculation of invariant moment calculation [] methods was also investigated. This method appeared to be very insensitive to detail and sensitive to light variation. Another disadvantage is that it takes much computing power.

5. Experiments

5.1 Robust registration

Since the user of the database has to position the cartridge cases with rules, it might be positioned 180 degrees rotated. Also small rotation angles are allowed. We tested the results by rotation of the cartridge case. It appeared that a small rotation of 5 degrees is allowable in our database (figure 5 and 6). The average standard deviation is below the 30 and the image that we tested will be retrieved in this situation. In the database that we tested there were no known matches that were positioned 180 degrees wrong.

We have subtracted all images from each other in the database and compared the standard deviation of the result. It appeared that 21 out of the 49 images were in the top positions. 15 were in the top 5 percent of the database, whereas 13 cartridge cases were in the top 50 percent of the database.

From further examination of the images, it appeared that those images were slightly rotated and translated. The firing pin differed in shape in the some of the side light images that match.

Figure 5: histograms of greyvalues of subtraction of two image 
Left: which are almost positioned the same
Middle: which are positioned with an angle of 5 degrees
Right: which are different from each other

We have compensated for the translation and rotation, and we have declined the influence of the firing pin by modifying of this part to 50 percent. We have done this by rotating and translating the images themselves, and calculating the minimum of the standard deviation of the difference in gray values. With those compensations, it appeared that all images were found in the top positions. This approach worked both in the polar coordinates as well as in the raw images.

The calculation of the correlation parameter gave similar results as the calculation of the standard deviation of the difference. For this reason the correlation parameter is

not used in further research, since it is computationally more expensive.

Figure 6 : Rotation vs. standard deviation of the difference computed in polar coordinates of two similar images

5.2 Log-polar Transform

We tested the log polar transform on raw images. It appeared to work much faster, however influences of variation of light appeared to be much more then expected. It appeared that 5 out of the 49 cartridge cases were in the top position. All images were however in the first 6 percent of the complete database. For this reason the method can be used as a pre-selection

Table 2 : number of matches in top positions of database of 49 images. The items marked with *) have been compensated for the weight of the firing pin.

|  | Difference (4.1) | "Brute Force" registration | Log Polar |
| --- | --- | --- | --- |
| Raw images | 6 | 21 / 49 *) | 5 |
| Polar | 5 | 9 / 49 *) | - |
| MR - scale 1 | 2 | - | - |
| MR- scale 2 | 3 | - | - |
| MR -scale 3 | 7 | 49 | 49 |
| MR - scale 4 | 4 | - | - |

Better results were found when using the third scale of the a trous transform on these images. All images were in the top positions.

In table 2 the results of the correlation for the different methods are given.

6. Conclusions and Further Research

We tested the correlation algorithms with a test set of side light images of 19 different guns, with 49 different cartridge cases.

From this research it appeared that if the marks in the different cartridge case that match, are in the same position and same light conditions, a simple correlation algorithm can be used were the standard deviation of the difference can be calculated. In some cartridge cases (depending on the firearm and the sidelight used), it appears to be necessary to reduce the influence of the firing pin.

The shape of the firing pin has to be taken into account with the correlation. Since the region of interest of the cartridge case is circular, also polar coordinates can be used. It appeared that all 19 matching pairs are found in the top position if there is a compensation for translation and rotation. For the correlation the inner part (firing pin) has been reduced to fifty percent.

Since the above method cost much processing power, a log polar method is used. This method is invariant to translation, scale and rotation changes. When using this method on raw images, it appeared that the cartridge cases were retrieved in the top 6 percent of the database of 4966 images. For further refinement, the a trous multiresolution approach is used. From the research it appeared that the third scale can be used for the correlation, and that all matching cartridge cases are found in the top position.

Further research is necessary for correlating the ring light images. Since they are more reproducible, and less sensitive to shadows, in preliminary research it appears that these kinds of images are easier to correlate.

In future research the use of a line scanner [] instead of ring light or coaxial light might be worthwhile to evaluate for the markings. The use of other 3D-means, like structured light (currently under investigation at our laboratory) and laser scanning are also worthwhile to evaluate for the acquiring an image. The use of optical processors [, ] is an option to improve the speed of the correlations.

Also ways for pre-selection of cartridge cases based on administrative data and texture measures, can be used to reduce the time needed for the correlation.

This way of correlation should be tested to a larger database of matching pairs. Depending on the marks, different results are expected. Also the way of lighting the cartridge case is important for the correlation results. The light that is used in the Dutch images of cartridge cases is different from the images that were acquired before. From the research, it appears that also other matches in the American database are found in the top position, with this approach.

7. Netherlands Forensic Institute

Zeno Geradts and Jurrien Bijhold

Netherlands Forensic Institute of the Ministry of Justice

Gerechtelijk Laboratorium

Department Digital Technology

Volmerlaan 17

2288 GD Rijswijk

The Netherlands

Email: 		zeno@holmes.nl

Phone:		+31 70 413 5681

Fax:		+31 70 431 5454

8. References

# Endnotes

[] Jones, B.C.;”Intelligent Image Capture of Cartridge Cases for Firearms Examiners”, SPIE Vol. 2942, 1997, pp. 94-104.

[] Baldur, R.;” Method for monitoring and adjusting the position of an object under optical observation for imaging”, patent US5633717

[] Baldur, R.;”Method and apparatus for obtaining a signature from a fired bullet”, patent US5659489

[] Baldur, R. “ Fired cartridge examination method and imaging apparatus” patent US5654801

[] Baldur, R.;” Computer automated bullet analysis apparatus”, patent US5390108

[] Smith, C.L.; “Fireball : A forensic Ballistics Imaging System”, Proceedings of the IEEE International Carnahan Conference on Security Technology, pp. 64-70, 1997

[] Smith, C.L. e.a.;”Optical imaging techniques for ballistic specimens to identify firearms”, Proceedings of IEEE International Carnahan Conference on Security Technology, 1995, pp. 275-289

[] Faloutsos, C; Barber, R, e.a.; “Efficient and Effective Querying by image content”, Journal of Intelligent Information Systems, pp. 231-262, 1994

[] Lew, M.S.  e.a.; “Content Based Image retrieval : optimal keys, texture, projections and templates”, Image Databases and Multimedia Search, ISBN 981-02—3327-2, p. 39-47

[] Khoros, University of New Mexico, www.khoral.com

[] Salton, G,; McGill, M.J.; "Introduction to modern information retrieval", McGrawHill, 1989

[] Starck, J.L.; Mortagh, F; Bijaoui; "Image Processing and Data Analysis, the Multiscale Approach", University Press, Cambridge, ISBN 0 521 59914 8, 1998

[] Holschneider, M e.a.; "A real-time algorithm for signal analysis with the help of the wavelet transform", in J.M. Combes e.a., eds. Wavelets: Time Frequency

0628Methods and Phase Scale", Springer Verlag, Berlin, 1989, pp. 286-297

[] Geradts, Z; Keijzer, J. ; "A new approach to automatic comparison of toolmarks", Journal of Forensic Sciences, Vol. 39, No.4 , July 1994

[] Barnea, D.J.; Silverman, H,F, "A class of algorithms for gast digital image registration", IEEE Trans. Comput., 21(2), 179-186

[] Shah, M.B, Nageswara, S, e.a.; “FaceID : A face Detection and Recognition System”, SPIE Vol. 2940, 1996, pp. 90-99

Anuta, P.E.; “Spatial Registration of multispectral and multitemporal digital imagery using fast Fourier transform techniques”, IEEE Trans Geo Elec, 8:353-368, 1970

Casasent, D, Psaltis, D; “Position, rotation and scale invariant optical correlation”, Applied Optics, 15:1795-1799, 1976

[] Goshtashby, A; "Template matching in rotated images", IEEE transactions on pattern recognition and machine intelligence, Vol;. PAMI-7, No.3, May 1985, pp. 383-344

Zographos, A, Robinson, M., Evans, J.P.O, "Ballistic Identification using line-scan imaging techniques", ”, Proceedings of IEEE International Carnahan Conference on Security Technology, 1997, pp. 82-87

Karins, J.P.; Mills, S.A.; Dydyk, R.B; "Optical processor for fingerprint identification", Proceedings of the SPIE - The International Society for Optical Engineering Conference  Title:  Proc.  SPIE - Int. Soc. Opt. Eng. (USA), vol.2940   p.108-115

Perez-Poch, A.; Velasco, J.; "Cheap   and   reconfigurable  PC-board  for  real-time  optical

applications using liquid crystal displays", Proceedings of the SPIE - The International Society for Optical

Engineering Conference  Title:  Proc.  SPIE - Int. Soc. Opt. Eng. (USA)

vol.2774    p.757-65